ОБОБЩЕНО ПРЕДСКАЗВАЩО УПРАВЛЕНИЕ ПРИ РАЗЛИЧНА

СТЕПЕН НА НЕОПРЕДЕЛЕНОСТ В МОДЕЛА НА ОБЕКТА

Емил Гарипов, Величка Руйкова, Тодор Пелтеков

Резюме: Статията изследва доколко точността на модела на обекта влияе върху качеството на управление посредством проектирания обобщен предсказващ регулатор. Идентификацията на обекта се извършва чрез оптимизационна процедура на базата на експериментално измерената преходна функция на обекта. За подходящ тестов пример са симулирани съответни системи за управление.

Ключови думи: идентификация с оптимизационна процедура, обобщен предсказващ регулатор, немоделирана динамика, степен на неопределеност

GENERALIZED PREDICTIVE CONTROL FOR DIFFERENT

PLANT MODELS UNCERTAINTY

Emil Garipov, Velichka Ruykova, Todor Peltekov

Abstract: The paper presents investigation on the problem how far the plant model dynamical exactness has influence on the system properties by the designed generalized predictive controller. The plant identification is made using optimization procedure based on the experimental measured step response. The corresponding control systems are simulated for suitable test example,

Keywords: identification by optimization procedure, designed generalized predictive controller, unmodelled dynamics, uncertainty in the model